{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Φύλλο1","Φύλλο2","Φύλλο3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Φύλλο1","index":0,"n_rows":41,"n_cols":9,"rows_kept":41,"cut":false,"hidden":false,"merged":[]}
["   ΔΕΥΑ ΝΑΟΥΣΑΣ"]
["   Οδος Σφαγειων"]
[" τηλ 2332022620 -6942934984",null,null,null,null,"ΝΑΟΥΣΑ 30/5/25"]
["αρ.πρω . ΝΑΟΥ  28/5/25"]
["πληρ Α ΠΑΠΑΡΗΣ"]
[null,null,null,"ΠΙΣΤΟΠΟΙΗΤΙΚΟ  ΑΝΑΛΥΣΗΣ"]
[]
["ΠΡΟΕΛΕΥΣΗ ΔΕΙΓΜΑΤΟΣ",null,null,null,null,"ΝΑΟΥΣΑ ΨΑΘΑ"]
["ΕΡΓΑΣΤΗΡΙΑΚΟΣ ΚΩΔ",null,null,null,null,"ΝΑΟΥ 28/5/25"]
["ΠΕΡΙΓΡΑΦΗ  ΔΕΙΓΜΑΤΟΣ",null,null,null,null,"  ΝΕΡΟ"]
["ΗΜΕΡΟΜΗΝΙΑ ΠΑΡΑΛΑΒΗΣ",null,null,null,null,"2025-05-28"]
["ΚΑΤΑΣΤΑΣΗ ΔΕΙΓΜΑΤΟΣ",null,null,null,null,"ΚΑΝΟΝΙΚΗ"]
["ΔΙΑΡΚΕΙΑ ΑΝΑΛΥΣΗΣ",null,null,null,null,"   28-30/5/2025"]
["ΕΙΔΟΣ ΑΝΑΛΥΣΗΣ",null,null,null,null,"Δοκιμαστικη παρακολουθηση υδατων"]
["ΗΜΕΡΟΜΗΝΙΑ  ΕΚΔΟΣΗΣ",null,null,null,null,"2025-05-30"]
["ANΑΛΥΣΕΙΣ",null,null,"Τιμη",null,"ανωτ.τιμη",null,null,"μεθοδος"]
["Αρ.αποικιων στους 37 C",null,null,"            ΜΑ",null,0,null,null,"IDEXX'/"]
[" αρ.αποικιων στους 22 C  ",null,null,"            ΜΑ",null,0,null,null,"DST"]
["Ε.COLI  CFU/100ML",null,null,0,null,0,null,null," IDEXX'/"]
["EΝΤΕΡΟΚΟΚΚΟΙ CFU/100ML",null,null,0,null,0,null,null,"DST"]
["CLOSTRIDIUM PERFIGENS",null,null,null,null,null,null,null,"KYA Y2/01"]
["ολικα κολοβακτηριοειδη",null,null,0,null,0]
["ΦΥΣΙΚΟΧΗΜΙΚΕΣ ΠΑΡΑΜΕΤΡΟΙ",null,null,"              AΠΟΤΕΛΕΣΜΑ",null,null,null,"ΑΝΩΤΕΡΗ  ΤΙΜΗ"]
[]
[" PH 25  C",null,null,null,null,6.99,null,"              9.5"]
["ΑΓΩΓΙΜΟΤΗΤΑ Μs/cm",null,null,null,439,null,null,2500]
["ΘΟΛΟΤΗΤΑ",null,null,null,0.11,null,null,"αποδεκτη στους"]
["ΧΡΩΜΑ/ΟΣΜΗ/ΓΕΥΣΗ",null,null,null,"    ΑΠΟΔΕΚΤΑ",null,null,"καταναλωτες"]
["υπολειμματικο χλωριο mg/l",null,null,null,"            0.22"]
["αμμωνιακα [NH4] ΜG/L",null,null,null,"            <0,1",null,null,"              0.5"]
["Αρσενικο",null,null,null,"< 1",null,null,10]
["χαλκος",null,null,null,"<0.1",null,null,2]
["νιτρωδη",null,null,null,"<0,01",null,null,0.5]
["μολυβδος",null,null,null,"<5",null,null,10]
["σιδηρος",null,null,null,"<10",null,null,200]
["βοριο",null,null,null,"<0,10",null,null,"               1.0"]
["νιτρικα",null,null,null,"3.1",null,null,50]
[]
["το πιστοποιητικο  ισχυει μονο για την στιγμη της δειγματοληψιας"]
[null,null,"     ΑΔΑΜΟΣ          ΠΑΠΑΡΗΣ"]
[null,null,"        ΧΗΜΙΚΟΣ ΑΠΘ"]

{"sheet":"Φύλλο2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Φύλλο3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}